C & A

The area’s KCDA covers have been broken down into three regions.  Please note that region III includes the state of Idaho, Oregon and Alaska.  If the bidder wishes to change counties and/or states into different regions, bid prices for all regions the same, and/or add more regions, note all changes on the bid.  Please price your product to be delivered and installed to these regions.  Bid price to be based on installations to a floor previously prepared to accept carpet.  KCDA prefers that the successful bidder be able to provide product and installation throughout all regions.  If you cannot cover all the regions requested on the bid then list all counties/states that can be covered.

DELIVERY AREA BY COUNTY/REGION:

REGION I	REGION II	REGION III

King	Benton	Adams

Kitsap	Clark	Asotin

Pierce	Cowlitz	Chelan

Snohomish	Franklin	Clallam

Thurston	Kittitas	Columbia

Lewis	Douglas

Mason	Ferry

Skagit	Garfield

Spokane	Grant

Whatcom	Grays Harbor

Yakima	Island

Jefferson

Klickitat

Lincoln

Okanogan

Pacific

Pend Oreille

San Juan

Skamania

Stevens

Wahkiakum

Walla Walla

Whitman

Idaho

Oregon

Alaska

COLLINS & AIKMAN

CARPET SPECIFICATIONS

Carpet, with standard or condensed cushion with the following features:

Yarn face can be textured, level loop or patterned loop round wire construction not to exceed .141" pile height.

Minimum 100-136 yarn tuft count per square inch.

Yarn system to be Type 6 Nylon and Dynex Nylon with a static control not to exceed 2.2 KV and include a stain resistor.

Dyeing solution can solution or yarn dyed.

Backing system to be a closed cell vinyl cushion with a minimum of 18.5 lbs cu. ft. density, .156" thickness, and weight of 36.5 ounces per square yard for standard cushion and 35lbs. cu. ft. density, .065" thickness and weight of 27.5 ounces per square yard for condensed cushion.

Yarn face weight not to exceed 20 ounces per square yard.

Adhesive system to be a microencapsulated tackifier applied to 100% of material at time of manufacture. Wet adhesives not accepted.

Product to be available in 6 foot roll or 18 inch tile, Collins & Aikman Powerbond.

Prices to bid by the square yard.

MULTI-PURPOSE ROOM CARPET SPECIFICATIONS

Carpet, for multipurpose rooms, locker room, workout room and indoor running areas with the following features:

Level loop construction.

Minimum 130 yarn tufts per square inch.

Yarn pile to maximum .125 inches.

Dyeing method to be yarn dyed.

Yarn system to be Dupont 6.6 Legacy nylon with static control and stain resistor.

Backing system to be closed cell condensed vinyl cushion with 33.5 ounces per square yard weight, 33.0 lb. per cubic foot density, and .085" thickness.

Adhesive system to be a microencapsulated tackifier applied to 100% of material at time of manufacture. Wet adhesives not accepted.

Smoke and flame requirements must meet those of the State of Washington for schools and hospitals.

Products must meet State of Washington indoor air requirements at the time of installation.

Products must not show any detectable levels of formaldehyde or 4 phenycyclohexene by independent laboratory test results less than two years old.

Product comes in 6-ft rolls, Collins & Aikman MPR.

Prices to be bid by square foot.

NON-SLIP MAT SPECIFICATIONS

Mat, throw, with the following features:

Non slip backing system.

Available in same colors and textures as the roll and tile materials.

Face yarn same as roll goods.

COLLINS & AIKMAN

MISCELLANEOUS PRODUCTS

The following specifications are for products that are commonly used by carpet installers. KCDA views these as incidental accessories to the carpet orders from our members. These items will be awarded to each supplier who is successful on winning the carpet portion of the bid.

BASE

Base, wall, 1/8" thick, rubber or vinyl, 4" and 6" heights, Roppe, Burke, Johnsonite or equal.

BASE CORNERS

Base corner, wall, 1/8" thick, rubber or vinyl, 4" and 6" height, Roppe, Burke, Johnsonite or equal.

REDUCER

Mercer, Roppe, Johnsonite or equal.

TREADS

Tread, stair, minimum thickness .125" tapering to .080", Roppe, Burke, Johnsonite or equal.

RISERS

Riser, stair, minimum .080" thickness, Roppe, Burke, Johnsonite or equal.

SKIRTINGS

Roppe, Burke, Johnsonite or equal.

NOSINGS

Roppe, Burke, Johnsonite or equal.

VCT

Vinyl composition tile, 1/8" nominal thickness, comes in standard, premium, and feature grades, Armstrong, Mannington, Congoleum or equal.

# RUBBER TILE

Tile, rubber, prices to include delivery but not installation and to be bid by the square foot, Nora

NO SUBSTITUTES.

# CAR STOPS

Car stops, made from recycled carpet, 6 foot lengths, FOB COLLINS & AIKMAN warehouse.

OTHER PRODUCT SPECIFICATIONS

Walk off mats, entry systems , linoleum, vinyl profiplan, vinyl sheeting, vinyl tile, solid vinyl, tarkett, specialty products and carpet not listed above are to be bid as per the brands shown on this bid.

REQUIREMENTS FOR ALL PRODUCTS SUPPLIED UNDER THIS CONTRACT

Smoke and flame requirements must meet those of the State of Washington for schools and hospitals.

Product must meet the State of Washington indoor requirements at time of installation.

Products must not show any detectable levels of formaldehyde or 4 Phenylcyclohexene by independent laboratory test results less than two years old.